EECS-4220-001		Final			Name_____________________________________________

100 pts total, 10 pts/ea

- In Siemens’ OB1, there is a FC1 accessed that does the following:

Build the function “INV” to complete the operation.  Show all tables and logic inside the Function (FC):

2. 	Using either A-B or Siemens ladder logic, write a cash register program that uses an accompanying HMI program with only three items [hamburger, fries, drink].  Include logic to calculate the total price ignoring tax.  Ignore the ‘cancel last’ button and combo logic as well.

3. 	Using A-B or Siemens ladder logic, write a program that could be used to show the movement of a bottle across a conveyor belt and populate a case.  Use a case of 12.  Use a start and stop button to start the operation.  Use a reset button to set the bottle counter in the case back to 0 and allow another operation to fill the case with bottles.

4.	Describe how a memory circuit would be set up using both HMI and program control to start and stop the specific memory bit from either location.  Allen-Bradley is preferred.  Be specific.

If you were moving a program from real pushbuttons to an HMI, what one thing must you do?

5.	For the following Modbus query, describe the slave’s response:

03

02

00

CA

00

08

CRC

6.	Use either the A-B or Siemens motion command (either relative or absolute) to control the feed action of the screw feed controlling the knife shown below. Write a program to provide this function:

7.	Give an example of multiple inputs being used instead of just one value for the PV (Process Variable) of a PID Loop.  Write a program using either A-B or Siemens to demonstrate your answer.

8.	The following conveyor system has five output lights for percent complete of packages going down conveyor 1 to conveyor 2.  Write a program to turn on these five output lights based on the fact that packages must pass photoeye 1 to enter the storage area and pass photoeye 2 to exit.

Describe how you could display the same data on an HMI panel using only one output device.  A-B is preferred.

9.	The following describes how an input, logic and output interacts in a safety circuit for Siemens.  Describe how logic can be guaranteed to be safe in this configuration.  In your answer describe both logic written by the user and logic approved and provided by the manufacturer.

10.	Using either the PID blocks from A-B or Siemens, provide a program that will work in auto mode for the following P&ID.  Use variables as inputs, outputs and internal variables as necessary.  Describe these variables in a table.

Description of "02" Read Input Status

The "02" request reads the status of discrete input points.  The request is for inputs 197 to 218 from slave device 17.

Query

| Field Name |  |
| --- | --- |
| Slave Address | 11 |
| Function | 02 |
| Starting Address Hi | 00 |
| Starting Address Lo | C4 |
| No. of Points Hi | 00 |
| No. of Points Lo | 16 |
| Error Check (LRC or CRC) | ---- |

Response

| Field Name |  |
| --- | --- |
| Slave Address | 11 |
| Function | 02 |
| Byte Count | 03 |
| Data (Inputs 10204 - 10197) | AC |
| Data (Inputs 10212 - 10205) | DB |
| Data (Inputs 10218 - 10213) | 35 |
| Error Check (LRC or CRC) | ---- |

| 10204 | 10203 | 10202 | 10201 | 10200 | 10199 | 10198 | 10197 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 0 | 1 | 0 | 1 | 1 | 0 | 0 |
| 10212 | 10211 | 10210 | 10209 | 10208 | 10207 | 10206 | 10205 |
| 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 |
| 10220 | 10219 | 10218 | 10217 | 10216 | 10215 | 10214 | 10213 |
| 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 |

Description of "04" Read Registers

This is a request to read input register 30009 from the slave device at location 17.

Query

| Field Name |  |
| --- | --- |
| Slave Address | 11 |
| Function | 04 |
| Starting Address Hi | 00 |
| Starting Address Lo | 08 |
| No. of Points Hi | 00 |
| No. of Points Lo | 01 |
| Error Check (LRC or CRC) | ---- |

Response

| Field Name |  |
| --- | --- |
| Slave Address | 11 |
| Function | 04 |
| Byte Count | 02 |
| Data Hi (Register 30009) | FF |
| Data Lo (Register 30009) | F1 |
| Error Check (LRC or CRC) | ---- |
| Input Register | Value |
| 30001 | A123 |
| 30002 | 0102 |
| 30003 | BBE3 |
| 30004 | 30E3 |
| 30005 | 0001 |
| 30006 | 4E23 |
| 30007 | 8989 |
| 30008 | 234F |
| 30009 | FFF1 |