EECS-4220-001		Final			Name_____________________________________________

100 pts total, 10 pts/ea

- In Siemens’ OB1, there is a FC1 accessed that does the following:

Build the function “FLIP” to complete the operation.  Show all tables and logic inside the Function (FC):

2. 	For the following Modbus query, describe the slave’s response:

03

02

00

CA

00

0D

CRC

using the example:

Description of "02" Read Input Status

The "02" request reads the status of discrete input points.  The request is for inputs 197 to 218 from slave device 17.

Query

| Field Name |  |
| --- | --- |
| Slave Address | 11 |
| Function | 02 |
| Starting Address Hi | 00 |
| Starting Address Lo | C4 |
| No. of Points Hi | 00 |
| No. of Points Lo | 16 |
| Error Check (LRC or CRC) | ---- |

Response

| Field Name |  |
| --- | --- |
| Slave Address | 11 |
| Function | 02 |
| Byte Count | 03 |
| Data (Inputs 10204 - 10197) | AC |
| Data (Inputs 10212 - 10205) | DB |
| Data (Inputs 10218 - 10213) | 35 |
| Error Check (LRC or CRC) | ---- |

| 10204 | 10203 | 10202 | 10201 | 10200 | 10199 | 10198 | 10197 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 0 | 1 | 0 | 1 | 1 | 0 | 0 |
| 10212 | 10211 | 10210 | 10209 | 10208 | 10207 | 10206 | 10205 |
| 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 |
| 10220 | 10219 | 10218 | 10217 | 10216 | 10215 | 10214 | 10213 |
| 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 |

3.	Use the Siemens motion commands to control the feed action of the conveyor shown. Write a program to provide this function.  Assume the drives have been previously reset and enabled.

4.	The following shows a PID drawing of a temperature control with gas and air.  Describe the units of the signals into and out of these controllers:

5.	Write a Whack-a-Mole game using ladder logic for four lights.  The game is to react to the light by pushing that particular button before the light turns off.  Construct the game so that the time between lights is stored in an array and the next light to turn on is also stored in an array.  Count the steps (light turn-ons) and stop at 15.  If the person playing the game is successful 10 of the 15 times, an output is set (S) or latched (L).

6.	Using either the PID blocks from A-B or Siemens, provide a program that will work in auto mode for the following P&ID.  Define and use variables as inputs, outputs and internal variables as necessary.  Describe these variables in a table.  ORP refers to Oxidation-Reduction potential.

7.	If an analog input represents the output of a potentiometer and a command is given to turn an output from 0 to 360o, write a program that will give an alarm if the potentiometer does not see the shaft of the potentiometer turn to within 10% of the command’s position in 10 seconds.

8.	The following shrink-wrap machine is used to wrap a pallet of product.  Write a program using A-B motion commands to cover the pallet from bottom to top.   Assume the drives have been previously reset, enabled and homed.

9.	When the PID block is switched from manual to auto, the function responds to the SP presently available to the block.  If the process is sensitive to sudden changes in PID output, then the program should include logic to give the output a signal matching the present flow when the block was in manual.  This is referred to as bumpless transfer.  Write a program to accomplish bumpless transfer from manual to auto for either the A-B or Siemens’ PID block.

10.	The following functions are described in the graphs below.  Write a program that turns on a Boolean output when the ‘OR’ (or summation) of these functions is greater than 50%.

Extra Sheets – may be removed if desired.