Quiz 5	EECS 4220				Name_________________________________________

The bike has two analog inputs, one for current and one for voltage.  Power is the instantaneous value V*I.  A timed interrupt program OB 30 is created which executes every 20 ms.  Write a program in OB 30 to calculate values to display for each of the following:

Volts

Amps

Power

Calories

Also, provide a reset button to zero the calories value.

The relationship of power to energy is:

Power(Watts) = energy(Joules) / time(seconds)

and

1 Joule = 0.238902957619 calories

Using non-counter PLC instructions, write logic to perform the function of the counter below: