EECS 4220	Mid-Term Exam	           Name________________________________________________

- Write the DeMorgan of the circuit below using ladder format.

- Observe what happens when the buttons are pushed:

Fill in the table:

| ##### LT1 | PB 1 Off | PB1 On |
| --- | --- | --- |
| PB2 Off |  |  |
| PB2 On |  |  |

- A car wash with two bays has a pump supplying water pressure to the spray heads.  If a bay in use contact turns on, one pump automatically turns on.  If a water pressure switch is not satisfied (sufficient pressure) and a delay of 5 seconds occurs, a second pump turns on.  If, after the second pump turns on and water pressure is not satisfied and a 10 second delay occurs and both bays are in use, a third pump is turned on.  The third pump turns off when the status changes from both bays in use to one bay in use.  All pumps turn off after both bay in use contacts turn off.

Definition of Inputs:

| Sensor | Function/State | Signal Assignment |
| --- | --- | --- |

Definition of Outputs:

| Actuator | Function/State | Signal Assignment |
| --- | --- | --- |

- Next, write the logic to control flow for the three pumps using ladder logic:

- Write the logic in Ladder to satisfy the following control problem:

The process depends on a level switch in the two bins at the bottom (Bin 1 and Bin 2).  For either bin to fill, it must be at a low level.  Then the conveyor C2 will turn on and Bin 1 or Bin 2 will call for material until the high level is met for the bin being filled.  The Screw Conveyor will run delivering material to the conveyor for a fill to either bin.  The direction of  Conveyor C2 must be correct as well (forward or reverse).  Also, Storage Bin 1 has a high and low level switch and will be filled from above by conveyor C1 as needed.

- What three documents are primarily used in determining the design of a control panel?  How do each contribute to the design?

- Convert the following seal logic to S/R using Siemens S/R Box Logic:

- Convert the following to Ladder Logic.  First convert to Siemens S/R logic, then A-B seal logic:

- The following festooner lays material in a box by moving an arm back and forth.  The action reverses after a small time delay after hitting the end-of-travel photo-eye.  The box is considered complete when the weight exceeds 100 pounds or 30 back-and-forth actions – whichever occurs first.  Design an I/O table and write a program in Ladder Logic to perform the action.  Start and stop the operation from the left photo-eye station.

- With the following liquid storage tank, the liquid comes into the tank from various sources and is pumped out when the high level (L1) is reached.  When the low level (L0) is reached in the pumping operation, a valve V1 opens momentarily to spray a cleanser in the tank followed by valve 2 which sprays water.  The timing diagram for these sprays is shown below. Write a program to control the pump and V1 and V2.  Spray times are left to the discretion of the programmer.