EECS 4220	Quiz 4			Name_______________________________________________

- Convert the following seal circuit to an S/R circuit.

- Write the logic in Ladder using the American standard and the German standard to satisfy the following:

A tank is filling from above from buckets of water dumped into the tank.  When the tank’s upper level is reached, the pump starts and empties the tank until the lower level switch is reached.  At this time, the pump turns off.