EECS 4220	Quiz 4			Name_______________________________________________

- The following valve has two limit switches, one that energizes when the valve is closed and one that is energized when the valve is full open.  Write a ladder logic program that turns on an alarm if the time turn from on to off or off to on exceeds 5 seconds.  The alarm should stay on until a reset button is energized.

- A button can turn on a motor only once every 20 minutes.  Write a ladder logic program that prevents the motor from being turned on more often.