EECS 4220	Quiz 5			Name_______________________________________________

Write a program to place the material in the festooner box:

The material moves into the box with an arm that moves left and right. The sensors at each end stop the movement and, after a short time delay, reverse the motion.  The scale under the box records the weight at the beginning of the fill.  The arm stops close to when 100# is met.  The arm is to come to rest at the left sensor.  If the weight isn’t yet at 100# but closer to 100# than if the arm were to move through another pass, the arm is to stop and the operation is over.  The goal is to place as close to 100# material as possible with the fill ending at the left sensor.