EECS 4220	Quiz 9			Name_______________________________________________

Using either the PID blocks from A-B or Siemens, provide a program that will work in auto mode for the following P&ID.  Use variables as inputs, outputs and internal variables as necessary.  Describe these variables in a table.  PV’s and CV’s are marked in the diagram.  Unmarked SP’s are setpoints from the HMI screen.  Ignore sqrt operation.  Assume that FT’s give a flow rate and the sqrt function is performed at the transmitter, not the controller. (AE – Analysis Element, AR – Analysis Recorder, ASL – Analysis Switch Low, ASH – Analysis Switch High, AAL – Analysis Alarm Low, AAH – Analysis Alarm High)